## Slide 1
Automation: cDNA / RT with thermocycler module
Single plate (384?) with temperature module
Temp module / sample plate
Thermocycler module / cDNA plate
Primer mix
RT reaction mix
Reagents trough
Reagents
Tip rack
10uL
Tip rack
200uL
Tip rack
200uL
Tip rack
10uL

## Slide 2
Automation: PCR / clean-up with thermocycler module
Single plate (384?) with temperature module
Primer mix
RT reaction mix
Reagents trough
Primer Pool A / mastermix
Primer Pool B / mastermix
Magnetic module / PCR plate
Beads
Ethanol
Waste
Water
Reagents
Tip rack
10uL
Tip rack
200uL
Thermocycler module / PCR plate
Temp module / cDNA plate
Tip rack
200uL
Tip rack
10uL