## Slide 1
Automation: cDNA
Temp module / RNA plate
Thermocycler module / cDNA plate
Primer mix
RT reaction mix
Reagents
Tip rack
10uL
Tip rack
10uL
P10_multi
P300_multi
Magnetic module

## Slide 2
Automation: PCR tiling
Primer Pool A / mastermix
Primer Pool B / mastermix
Temp module / cDNA plate
Thermocycler module / PCR plate A
Reagents
PCR plate B
Tip rack
200uL
Tip rack
10uL
P10_multi
P300_multi
Magnetic module
Primer mix
RT reaction mix

## Slide 3
Automation: Clean up
Magnetic module / cleanup plate
Beads
Ethanol
Waste
Water
Reagents
Ethanol
Waste
Temp module / PCR plate
Tip rack
200uL
Tip rack
200uL
P10_multi
P300_multi
Thermocycler module
Primer Pool A / mastermix
Primer Pool B / mastermix
Primer mix
RT reaction mix

## Slide 4: Quantitation off deck

## Slide 5
Automation: Normalisation
Magnetic module
Water
Reagents
Endprep mastermix
Temp module / cleanup plate
Tip rack
10uL
P10_multi
P10_single
Thermocycler module / normalised plate
Beads
Ethanol
Waste
Ethanol
Waste
Primer Pool A / mastermix
Primer Pool B / mastermix
Primer mix
RT reaction mix

## Slide 6
Automation: Barcode / pool
Reagents
Temp module / normalised plate
Tip rack
10uL
P10_multi
P10_single
Thermocycler module / barcoded plate
Tip rack
10uL
Water
Barcodes 1
Barcodes 2
Barcodes 3
Ligation mastermix
Pooled plate
Magnetic module