## Slide 1
Automation: cherry pick
Temp module / RNA plate
Thermocycler module
Tip rack
200uL
P10_multi
P300_multi
Sample plate

## Slide 2
Automation: RT (RNA to cDNA)
Temp module / RNA plate
Thermocycler module / cDNA plate
Primer mix
RT reaction mix
Reagents
Tip rack
10uL
Tip rack
10uL
P10_multi
P300_multi
Tip rack
10uL
Tip rack
200uL
PCR plate 2

## Slide 3
Automation: PCR tiling
Primer Pool A / mastermix
Primer Pool B / mastermix
Temp module / cDNA plate
Thermocycler module / PCR plate 1
Reagents
PCR plate 2
P10_multi
P300_multi
Primer mix
RT reaction mix
Tip rack
10uL
Tip rack
10uL
Tip rack
200uL
Tip rack
10uL

## Slide 4: PCR

## Slide 5
Automation v1: Clean up
Magnetic module / cleanup plate
Beads
Ethanol
Waste
Water
Reagents
Ethanol
Waste
Temp module / PCR plate 2
P10_multi
P300_multi
Primer Pool A / mastermix
Primer Pool B / mastermix
Primer mix
RT reaction mix
Thermocycler module / PCR plate 1
Clean plate
Tip rack
200uL
Tip rack
200uL

## Slide 6: Quantitation off deck

## Slide 7
Automation v1: Normalisation
Water
Reagents
Endprep mastermix
Temp module / clean plate
P10_multi
P10_single
Thermocycler module / normalised plate
Beads
Ethanol
Waste
Ethanol
Waste
Primer Pool A / mastermix
Primer Pool B / mastermix
Primer mix
RT reaction mix
Tip rack
10uL
Tip rack
10uL

## Slide 8
Automation v2: Pool / normalisation
Primer Pool A / mastermix
Primer Pool B / mastermix
Thermocycler module / normalised plate
Reagents
PCR plate 2
P10_multi
P300_multi
Primer mix
RT reaction mix
Water
PCR plate 1
Temp module / pooled plate
Endprep mastermix
Tip rack
200uL
Tip rack
10uL

## Slide 9
Automation: Barcode / pool
Reagents
Temp module / normalised plate
P10_multi
P300_multi
Pooled tubes
Thermocycler module / barcoded plate
Primer Pool A / mastermix
Primer Pool B / mastermix
Primer mix
RT reaction mix
Water
Endprep mastermix
Water
Barcodes 1
Barcodes 2
Barcodes 3
Ligation mastermix
Tip rack
10uL
Tip rack
10uL
Tip rack
10uL
Tip rack
200uL